## Slide 1: A Cloud-enabled Parking Garage Monitoring System with Smartphone Notification
Andrew White, Jacob Pitcher
Gary Steffen and Paul Lin
September 20-23, 2012

## Slide 2: Project Outline
Executive Summary
Problem Statement
Solution Statement
System Design
System Testing
Conclusion
One university. Two great names.

## Slide 3: Executive Summary
Monitor vehicles entering and exiting
Maintain a count of vehicles currently in the garage
IPFW used as case study
Prevent students from wasting time
Spring Semester 2009 – Fall Semester 2009
Final deliverables
  GarageMon Software
  Web Page
  SMS Alert Component
One university. Two great names.

## Slide 4: Problem Statement
Project members were frustrated with parking
Survey of 12,000 active Spring-Semester students
Approximately 20% of these students responded
IPFW students verified to be frustrated with parking
IPFW Chief of Police Jeff Davis
  A system such as this was investigated a number of years ago, it was proposed to cost $60,000
Our project cost significantly less
  Project Cost Was Less than $1000
One university. Two great names.

## Slide 5: Solution Statement
Create a system which monitors the number of cars in the garage and displays this information to the user
INPUT
  Car Trips Sensor
OUTPUT
  LED Sign
  Web Page
  SMS Message Notification
One university. Two great names.

## Slide 6: System Design
One university. Two great names.

## Slide 7: Hardware System Architecture
Figure 1 – Hardware System Architecture
One university. Two great names.

## Slide 8: Engineering Technology Garage Measurement
One university. Two great names.
Figure 2 – Garage Map and Measurement

## Slide 9: Sensor Mounted 1 Meter Above Ground
One university. Two great names.
Figure 3 – Sensor Response When Mounted 1 Meter Above Ground Beside Vehicle [1]

## Slide 10: Sensor Mounted 0.25 Meters Below Ground
One university. Two great names.
Figure 4 – Sensor Response When Mounted 0.25 Meters Below Ground in Center of Traffic Lane [1]

## Slide 11: EMI Filter
One university. Two great names.
AC Connection (EXT)
AC Connection (INT)
AC Connection (EXT)
AC Connection (INT)
Figure 5 – EMI Filter Circuit Diagram [2]

## Slide 12: Sensor Power Supply
One university. Two great names.
Figure 6 – Sensor Power Supply Block Diagram [3]

## Slide 13: Input Subsystem
One university. Two great names.
Digital I/O Board Input Pin
Digital I/O Board Ground
NPN Output
PNP Output
Figure 7 – Input Subsystem, ABB Optocoupler Circuit Diagram [4]

## Slide 14: Output Subsystem
One university. Two great names.
Digital I/O Board Ground
Digital I/O Board Output
Remote Teach Pin
Sensor Power Supply DC - Pin
Digital I/O Board +5V DC
Figure 8 – Output Subsystem, Weidmuller Optocoupler [5]

## Slide 15: Overview of Software System Architecture
One university. Two great names.
Figure 9 – Software System Architecture

## Slide 16: Sensor Server Software Class Diagram
One university. Two great names.
Figure 10 – Sensor Server Software Class Diagram
Program
Main Form
Sign Class
FTP
LED Sign Simulator
Add Sensors Form
Sign Form
FTP Form
Graph Form
Garage Sensors
Add Garage Form
Garage

## Slide 17: Sensor Server Software State Transition Diagram
One university. Two great names.
Figure 11 – Sensor Server Software State Transition Diagram

## Slide 18: SMS Alert Software State Transition Diagram
One university. Two great names.
Figure 12 - SMS Alert Software State Transition Diagram

## Slide 19: User Input Servlets State Transition Diagram
One university. Two great names.
Figure 13 – User Input Servlets State Transition Diagram

## Slide 20: System Testing
One university. Two great names.
20

## Slide 21: Sensor Testing
Figure 14 – Sensor Testing Rig
One university. Two great names.

## Slide 22: Sensor Testing (cont.)
One university. Two great names.
Distance Vehicle Detected | Height Above Ground | Distance From Vehicle | Vehicle Speed | Sensitivity Level | Errors?
0 | 18 inches | 9 inches | 5mph | 6 | Tripped Twice
0 | 18 inches | 9 inches | 5mph | 5 | No Trips
0 | 18 inches | 9 inches | 5mph | 4 | No Trips
0 | 18 inches | 9 inches | 5mph | 3 | No Trips
0 | 18 inches | 9 inches | 5mph | 2 | No Trips
0 | 18 inches | 9 inches | 5mph | 1 | No Trips
16 feet | 30 inches | 9 inches | 2mph | 6 | 
0 | 30 inches | 9 inches | 2mph | 5 | No Trips
0 | 30 inches | 9 inches | 2mph | 4 | No Trips
0 | 30 inches | 9 inches | 2mph | 3 | No Trips
0 | 30 inches | 9 inches | 2mph | 2 | No Trips
0 | 30 inches | 9 inches | 2mph | 1 | No Trips
12 feet | 30 inches | 19 inches | 2mph | 6 | 
 | 30 inches | 19 inches | 2mph | 5 | No Trips
 | 30 inches | 19 inches | 2mph | 4 | No Trips
 | 30 inches | 19 inches | 2mph | 3 | No Trips
 | 30 inches | 19 inches | 2mph | 2 | No Trips
 | 30 inches | 19 inches | 2mph | 1 | No Trips
Table 1 – Sensor Testing Results

## Slide 23: LED Sign Testing
One university. Two great names.
Figure 15 – LED Sign Testing

## Slide 24
One university. Two great names.
Figure 17 – Garage Configuration Dialog
Garage Configuration Dialog

## Slide 25
One university. Two great names.
Sensor Configuration Dialog
Figure 18 – Sensor Configuration Dialog

## Slide 26
FTP Configuration Dialog
Figure 20 – FTP Configuration Dialog
One university. Two great names.

## Slide 27: Sign Configuration Dialog
One university. Two great names.
Figure 19 – Sign Configuration Dialog

## Slide 28: Sensor Server Software Main Form
One university. Two great names.
Figure 16 – Sensor Server Software Main Form

## Slide 29: Parking Garage Status Web Page
One university. Two great names.
Figure 21 - Parking Garage Status Web Page

## Slide 30: Parking Garage SMS Alert Subscription Page
One university. Two great names.
Figure 22 – Parking Garage SMS Alert Registration Form

## Slide 31
SMS Alert Subscription Error Page
Figure 23 – Parking Garage SMS Alert Registration Form
One university. Two great names.

## Slide 32
SMS Alert Subscription Confirmation Page
Figure 24 –SMS Alert Registration Confirmation Page
One university. Two great names.

## Slide 33: Parking Garage SMS Alert Unsubscribe Page
One university. Two great names.
Figure 25 – Parking Garage SMS Alert Registration Form

## Slide 34
SMS Alert Unsubscribe Error Page
Figure 26 –SMS Alert Unsubscribe Confirmation Form
One university. Two great names.

## Slide 35
SMS Alert Unsubscribe Confirmation Page
Figure 27 –SMS Alert Unsubscribe Confirmation Form
One university. Two great names.

## Slide 36: USB I2C/IO Board
One university. Two great names.
Figure 28 – USB I2C/IO Board [6]

## Slide 37: Final Project Board
One university. Two great names.
Figure 29 – Final Project Board
EMI Filter
Sensor
Digital I/O Board
Power Distribution
Power Supply
Power Supply
Output Optocoupler
Input Optocoupler
34-Pin Breakout Board
Sensor

## Slide 38: Project Cost
One university. Two great names.
Table 2 – Project Cost
Item | Quantity | Unit Cost | Total Cost | Actual Cost
Banner Engineering Q7MB Sensor | 2 | $221.00 | $442.00 | $0.00 (Donated)
PS115-1P Sensor Power Supply | 2 | $68.00 | $136.00 | $0.00 (Donated)
ABB R900 OBC0100-24VDC Optocoupler | 2 | $29.29 | $58.58 | $0.00 (Donated)
Weidmuller 839894-TTL Optocoupler | 2 | $31.08 | $62.16 | $0.00 (Donated)
Devasys USB Digital I/O Board | 1 | $89.00 | $89.00 | $0.00 (Donated)
34-pin Breakout Board | 1 | $29.50 | $29.50 | $29.50
34-pin Ribbon Cable | 1 | $1.75 | $1.75 | $0.00 (Had Part)
1 Meter DIN Rail | 1 | $8.90 | $8.90 | $8.90
Qualtek 862-06/001 Power Line Filter | 1 | $13.25 | $13.25 | $0.00 (Donated)
2x1’ Laminated Wood Board | 1 | $15.00 | $15.00 | $0.00 (Donated)
Electrical Conduit End | 1 | $1.50 | $1.50 | $0.00 (Donated)
High Quality Power Cable | 2 | $12.00 | $24.00 | $0.00 (Donated)
Philips Wood Screws | 8 | $0.34 | $2.72 | $0.00 (Donated)
PVC Plastic Sheet | 1 | Unknown | Unknown | $0.00 (Donated)
Spool of Wire | 3 | $3.99 | $11.97 | $11.97
Aluminum Sheet, stamped | 1 | Unknown | Unknown | $0.00 (Donated)
Fuse | 1 | Unknown | Unknown | $0.00 (Donated)
Screw-down Terminal | 5 | Unknown | Unknown | $0.00 (Donated)
1 Hour of Work Time | 120 | Unknown | Unknown | Unknown
 |  |  | $896.33 | $50.37

## Slide 39: Summary
Conclusion
  Project was a success
  Project goals reached
  Provided invaluable project design, build, and management experience
Lessons Learned
  Project completion estimate is a difficult matter
  Learned how to work with third party vendors for support / donations
  Exercised programming skills
  Exercised system integration skills
One university. Two great names.

## Slide 40
One university. Two great names.
References
[1] Banner Engineering Inc. (2009, Sep.) M-GAGE Q7M Flat-Pak. [Online]. http://info.bannersalesforce.com/xpedio/groups/public/documents/literature/117172.pdf
[2] Qualtek Electronics Corp. (2009, Sep.) Qualtekusa.com. [Online]. http://www.qualtekusa.com/Catalog/EMI_Filters/pdf/86206001.pdf
[3] Banner Engineering. (2009, Sep.) Models PS24-1.andPS115-1.Sensor Interface Modules. [Online]. http://info.bannersalesforce.com/xpedio/groups/public/documents/literature/123566.pdf
[4] ABB Electronics Corporation. (2009, Sep.) R600 optocoupler modules. [Online]. http://www.abb-control.com/electronicscat/AC02020.19-22.pdf
[5] Weidmuller. (2009, Sep.) Product catalogue. [Online]. http://catalog.weidmueller.com/procat/Product.jsp;jsessionid=8E30EB96587EA790A4F2FBEF92631B36?productId=([8398940000])&page=Product
[6] Devasys. (2009, Dec.) USB-I2C/IO P.C.B. (Rev. C1). [Online]. http://www.devasys.com/images/products/usbi2cio/rev_c1/i2cio_lg.jpg

## Slide 41: Questions?
One university. Two great names.

## Slide 42: DEMO
One university. Two great names.